## Slide 1: Lasers In Periodontics
Inland Empire Perio Study Club
November 17, 2017

## Slide 3: Roadmap
Background
Mechanism of Action
Laser Types
Literature
Case Studies

## Slide 4: Background
L.A.S.E.R.
  Light Amplification by Stimulated Emission of Radiation
First invented in 1960
First report of caries removal in vivo 1985

## Slide 5: Properties of all Lasers
Stimulated photons by atoms creates the following light:
  Coherent ~ all phases of electromagnetic wave are identical
  Monochromatic ~ visible light of a narrow range of wavelengths
  Collimated ~ light rays that have minimal divergence as they propagate (highly directional)

## Slide 6: Coherent

## Slide 7: Mechanism of Action
Laser energy
  Reflected
  Scattered
  Transmitted
  Absorbed ~ Desired property of medical/dental lasers
Water molecules, proteins, pigments and macromolecules are responsible for absorption ~ produces thermal reaction in tissue
Absorption dependent on wavelength of laser

## Slide 8: Light Energy

## Slide 9: Laser Classes
Class 1
  Laser will not damage eyes i.e. CD Rom Player
Class 2
  Supermarket scanners
Class 3
  Can damage eyes if focused on
  Laser pointers
Class 4
  Direct and reflected exposure can cause eye/skin damage
  Fire Hazard
  Dental/Medical Lasers fall into this class

## Slide 10: Wavelength of Lasers

## Slide 11: Laser Types
Neodymium:yttrium-aluminum garnet (Nd:YAG)
Carbon Dioxide (CO2)
Erbium:YAG (Er:YAG)
Erbium, Chromium:Ytrrium (Er,Cr:YSGG)
Argon

## Slide 12: Laser Types
Excimer Lasers 193-350 nm wavelength
  Argon-Fluoride
  Xenon-Chloride
Indications
  Hard tissue ablation
  Calculus removal

## Slide 13: Laser Types
Gas Lasers
  Argon 438-515 nm wavelength
  Helium-Neon 637 nm wavelength
  Carbon dioxide 10,600 nm wavelength
Indications
  Soft tissue surgery, cure composites, tooth whitening, subgingival curettage, removal of gingival melanin pigmentation

## Slide 14: Laser Types
Diode Lasers
  655-980 nm wavelength
Indications
  Caries and calculus removal
  General surgery
  Subgingival curettage
  Root canal disinfection*

## Slide 15: Laser Types
Solid State Lasers
  Nd:YAG 1064 nm wavelength (Periolase)
    Soft Tissue Only
  Er:YAG 2940 nm wavelength
  Er:YSGG 2790 nm wavelength
  Er,Cr:YSGG 2780 nm wavelength (Waterlase)
    Hard and Soft Tissue
Indications
  Selective ablation of plaque and calculus
  Caries removal
  Soft tissue surgery
  Subgingival curettage
  Osseous surgery
  Scaling of root surfaces
  Root canal disinfection*

## Slide 16: Recommended Treatment
Most widely accepted for
  Gingivectomy
  Frenectomy
  Melanin pigmentation removal
  Amalgam tattoo removal
Less widely accepted for
  Management of periodontitis

## Slide 17: Surgical Literature
Effects on Wound Healing
  Increased coagulation
  Reduced bacteremia
  Decreased swelling
  Decreased scarring
  Increased patient acceptance

## Slide 18: Literature
Root surface modifications
  Issue of altering root surface without damaging pulp/periodontium
  Charring and melting noted with CO2 at certain settings
  Heat induced cracking with CO2
  Cavitation defects with Nd:YAG
  Nd:YAG may remove smear layer at lower settings

## Slide 19: Literature
Bacteria/Calculus
  Limited evidence showing reduction in bacteria with laser over traditional therapy
    Marketing point of companies “Laser sterilizes the pocket”
  Microbial rebound noted with laser treatment
  Nd:YAG may remove calculus at proper settings

## Slide 20: Lasers and Periodontitis
Laser treatment predicated on concept of subgingival curettage with regeneration of attachment apparatus
LANAP – Laser assisted new attachment procedure
  Periolase (Millenium)
LANAP is a new version of an old technique (ENAP ~ excisional new attachment procedure)
Bone is not altered

## Slide 21: LANAP/ENAP

## Slide 22: Literature
Slot 2009
Systematic review
  Looked at 323 articles
  8 articles met criteria
  Randomized human clinical trials
  Looked at Nd:YAG alone or in combo with ScRP
  Looked at bleeding/gingivitis/plaque levels

## Slide 23: Literature
Slot 2009
Findings
  Nd:YAG similar to ScRP in terms of inflammation and PD reduction
  No additional benefits over ScRp
  No evidence to support Nd:YAG laser is superior to traditional modalities of perio treatment

## Slide 24: Literature
Slot 2014
  Systematic review
  Looked at diode laser vs. traditional therapy
  Screened 416 papers of which 9 selected
  Combined effect of diode laser plus traditional therapy is no more effective than traditional therapy along (looked at PD and CAL)

## Slide 25: Literature
Schwartz 2008
  Systematic review
  11 studies for review w/o meta-analysis
  Looked at Er:YAG, CO2, Nd:YAG vs mechanical debridement alone
  Looked at short term (6 months) and long term (24 months) outcomes
  Found no additional benefits of lasers vs. mechanical debridement alone
  Some evidence for use of Er:YAG

## Slide 26: Nebraska Study
Nguyen 2015
  Single masked, RCT, 22 patients with history of chronic periodontitis exhibiting sites with >/= 5mm PDs, patients enrolled in routine PMT program
  50 sites treated with ScRp and 50 sites treated with ScRp plus Diode laser
  Outcomes assessed BOP, PD, CAL, IL-1Beta crevicular fluid
  Results
    Both modalities showed reduced BOP/PD/IL-1Beta but not s.s. different
    CAL gains not s.s. different

## Slide 27: Laser for Tx of Peri-implantitis
Mailoa 2014
  Systematic review/Meta Analysis
  Looked at peri-implantitis treatment outcomes with lasers, saline, CHX, Tetracycline, CA
  7 human studies/2 animal studies
    No s.s. difference in PD reduction/CAL/Bone fill regardless of modality used
    Animal studies showed higher BIC on rough surface implants when compared to smooth implants with use of laser

## Slide 28: AAP Position Statement 2011
Regarding lasers for use of nonsurgical periodontal treatment
  Subgingival curettage
    No additional benefit with use of laser
    Diseased pocket lining curettage not effective with either use of chemicals, curettes, or lasers
  Reduction of Subgingival bacteria
    Insufficient evidence to support s.s. reduction in bacterial load compared to ScRp
  Scaling and Root Planing
    Er:YAG lasers show greatest potential for subgingival root surface debridement
    Most studies show minimal benefit when combined with ScRp

## Slide 29: Literature
Most literature presented by laser companies has been the following:
1) Company funded
2) Case reports
3) Performed by operators with vested interest

## Slide 30: Conclusions
Lasers show promise in soft tissue surgery, caries removal, pigmentation removal
Limited evidence to support use of lasers for management of periodontal patients
Marketing Strategies
  No need for surgery
  Cure for periodontal disease
Cost vs. Benefit

## Slide 31: Case #1
17 year old female
Severe dental phobia
Recently completed orthodontic care
CC: “My teeth look small”

## Slide 32: Clinical Photos

## Slide 33: Clinical Photos

## Slide 34: Treatment Plan?

## Slide 35: Laser Crown Lengthening/Frenectomy

## Slide 36: Laser

## Slide 37: 7 day PO care

## Slide 38: 1 week change

## Slide 39: Case #2
65 year old male
History of chronic periodontitis
Openly stated he did not want traditional scalpel surgery

## Slide 40: Radiograph

## Slide 41: Buccal/Lingual #29 Preop

## Slide 42: Surgical Exposure with Waterlase

## Slide 43: Bone Graft

## Slide 44: Postop